SOSPOSA  |  Adult PSA Form 02  |  Basic Equipment and Drugs for Procedural Sedation and Analgesia in Adults

All equipment should be checked regularly.

Devices to Administer Oxygen and Assist with Ventilation

| Item | Specification / Notes |
| --- | --- |
| Oxygen and oxygen tubing | Oxygen source must be reliable and able to provide at least 90% oxygen via a self-inflating positive pressure delivery system at 15 L/min for at least 60 minutes |
| Oxygen flow regulator |  |
| Nasal prongs |  |
| Venturi masks | To deliver 40% oxygen |
| Nebuliser and mask |  |
| Self-inflating resuscitation bag with reservoir |  |
| PEEP valve |  |
| Catheter mount |  |

Airway Devices and Equipment

| Item | Specification / Notes |
| --- | --- |
| Face masks | Selection of sizes |
| Laryngeal mask airways or similar supraglottic devices | Sizes 3–5 |
| Range of cuffed endotracheal tubes | Sizes 5–8 |
| Laryngoscope set | Two handles with long and standard blades, and spare batteries and bulbs |
| Water-soluble lubricant |  |
| 10 ml syringe for inflation of pilot balloon |  |
| Tape or equivalent to secure endotracheal tube |  |
| Oropharyngeal airways | Sizes 3–5 |
| Nasopharyngeal airways | Sizes 6 mm and 7 mm |
| Stylets/introducers | Appropriately sized for endotracheal tubes |
| Magill forceps |  |

Monitoring Equipment

| Item | Specification / Notes |
| --- | --- |
| ECG monitor and cardiac defibrillator | With conductive paste, chest paddles and razor |
| Pulse oximeter |  |
| Blood pressure monitoring device | Non-invasive, with appropriately sized cuffs |
| Stethoscope |  |
| Thermometer |  |
| Blood glucose testing device |  |
| Selection of test tubes for blood biochemistry and full blood count |  |
| Capnograph | Nasal prongs with capnography line strongly recommended, but not compulsory |

Equipment to Gain Intravenous Access

| Item | Specification / Notes |
| --- | --- |
| Gloves |  |
| Tourniquet |  |
| Sterile gauze pads |  |
| Alcohol skin wipes |  |
| Intravenous cannulae | 18–22 gauge |
| Sterile needles |  |
| Assortment of syringes | 1 ml – 50 ml |
| Sharps container |  |
| Tape or equivalent to secure intravenous cannulae |  |

Equipment for the Accurate Infusion of Drugs and Fluids

| Item | Specification / Notes |
| --- | --- |
| Infusion pumps | Intravenous fluid administration for simple sedation |
| Syringe drivers | Drug administration in advanced sedation |
| Intravenous administration sets | Must be compatible with infusion pumps |
| Stickers for labelling syringes |  |
| Drip stands |  |
| Intravenous fluids | Crystalloids and colloids |

Hardware and Miscellaneous Equipment

| Item | Specification / Notes |
| --- | --- |
| Source of suction | Including connection tubing |
| Suction catheters | Including catheters for suctioning endotracheal tubes, and Yankauer-type suction nozzles |
| Therapeutic heat source |  |
| Cardiac arrest board |  |
| Appropriate lighting |  |
| Operating surface that can be tilted |  |
| Urinary catheters |  |
| Nasogastric tubes |  |
| Means of summoning emergency assistance |  |
| South African Resuscitation Council algorithms | Basic and advanced life support |
| Procedural documentation |  |

Recommended Emergency Drugs

- Naloxone

- Flumazenil

- Adrenaline (at least 10 ampoules)

- Atropine or glycopyrrolate

- Ephedrine or phenylephrine (or other alpha-agonist)

- Lignocaine

- Glucose 50%

- Hydrocortisone, methylprednisolone or dexamethasone

- Promethazine (or other H1-antagonist)

- Nitroglycerine spray

- Aspirin

- Salbutamol

- Suxamethonium

- Intralipid

- Calcium-channel blocker e.g., nifedipine

- Beta blocker e.g., esmolol

- Selective alpha 1 adrenergic and non-selective beta-adrenergic receptor blocker e.g., labetalol

- Reversal agents i.e. flumazenil, naloxone

Note: Specific antagonists must be immediately available where a sedation practitioner administers opioid analgesics and/or benzodiazepines for PSA, regardless of the route of administration. After reversal, patients must be monitored for a longer period in the recovery room to prevent re-sedation.